SACRED SAMPLING SOLUTIONS

Home Environmental Testing

Product Catalog

Marketing, Materials, Lab Methods & Launch Plan

26 testing kits across water, air, and materials

Internal reference & customer marketing master  ·  Revised August 2026

# Contents

# About This Catalog

This catalog is the single source of truth for the Sacred Sampling product line. It works two ways: as customer-facing marketing (taglines, website copy, and the reasons each test matters) and as internal reference (analyte lists, in-box materials, lab methods, and collection steps). It covers all 26 kits across three lines - Water, Air / Indoor Air Quality, and Materials & Specialty.

Every kit ships on the same mail-in model: collect your sample, return it in the prepaid insulated mailer, and receive a digital report analyzed by an accredited partner laboratory with plain-language interpretation and a documented chain of custody. Samples must ship out the same day they are collected, with the ice pack in the thermal mailer. All consumer kits carry the disclaimer: FOR INFORMATIONAL AND SCREENING PURPOSES. Not a medical diagnosis.

Customers manage everything in the Sacred Sampling portal at app.sacredsamplingsolutions.com: they register the kit by its Sample ID (format SSS-XXX-##### / SS-XXX-#####), watch a short kit-specific training video, print a prepaid return label, generate a lab-scannable chain of custody, track status through seven stages (Order Received → Shipped → With Customer for Collection → In Route to Lab → Received by Lab → In Analysis → Results Ready), and read results in-portal or as a PDF. The lab scans the QR on the kit to open the chain of custody at www.sacredsamplingsolutions.com/chain-of-custody.

How each kit entry is organized

- What it tests for - the analyte / contaminant list

- What's in the box - the physical materials list

- How to collect the sample - customer instructions in brief

- How the lab analyzes it - the instrument and EPA / standard method

- Why we test for this - health and environmental impact

- Did you know - the facts behind the analytes

- Website / marketing copy - ready-to-use selling language

# Recommended Launch Ranking

Recommended priority order for launching and promoting the line, weighing search demand, profit margin, differentiation, and fulfillment complexity. The six water kits are built and anchor the launch; the highest-opportunity new builds are Radon, IAQ, and Mold. Everything currently priced 'Coming soon' is documented here and shows on the website as coming soon until retail pricing and photography are set.

| # | Product | Priority | Why | Status |
| --- | --- | --- | --- | --- |
| 1 | Essentials Kit ($199) | Highest | Most popular everyday test; the five key drinking-water indicators; strongest first-time conversion. | Built |
| 2 | PFAS Kit ($499) | Highest | Peak public awareness + 2024 EPA limits; the flagship differentiator. | Built |
| 3 | Comprehensive Kit ($499) | Highest | Best broad-chemistry value story; high-value tier most buyers land on. | Built |
| 4 | Professional Kit ($1,195) | High | All-in-one flagship; highest order value; the definitive baseline test. | Built |
| 5 | Heavy Metals Kit ($249) | High | Low-friction entry product; the funnel-filler for cautious first buyers. | Built |
| 6 | Metals & Minerals Kit ($329) | High | Clear upsell from Heavy Metals; adds chloride & fluoride. | Built |
| 7 | Radon & Gas | High | Huge search volume, real-estate-driven demand, low fulfillment complexity. | Build copy + images |
| 8 | Air Quality (IAQ) | High | The bundle anchor; rides the indoor-air trend; cross-sells with every air badge. | Build copy + images |
| 9 | Mold Spore ID | High | Very high consumer demand and emotional urgency. | Build copy + images |
| 10 | Formaldehyde Air ($149) | Medium | Defined audience (new homes, renovations); supports the IAQ bundle. | Ready |
| 11 | VOC Air ($199) | Medium | Speciation story differentiates from cheap gadgets. | Ready |
| 12 | Tick PCR | Medium | Strongly seasonal but high intent in Lyme regions; great PR hook. | Build copy + images |
| 13 | Allergen & Dust | Medium | Large allergy/asthma market; recurring-test potential. | Build copy + images |
| 14 | Toxins in Plastics | Medium | On-trend (microplastics, BPA); strong content angle. | Build copy + images |
| 15 | Lead / Asbestos / Metals | Medium | Renovation and old-home buyers; clear safety urgency. | Build copy + images |
| 16 | Legionella | Medium | B2B/property-manager skew; steady but narrower consumer pull. | Build copy + images |
| 17 | Plasticizer & Microplastic | Medium | Trend-driven curiosity buy; pairs with Toxins in Plastics. | Build copy + images |
| 18 | PFAS in Bulk Materials | Lower | Niche complement to the water PFAS flagship; sell as add-on. | Build copy + images |
| 19 | Ammonia Air ($125) | Lower | Narrow use case; catalog completeness / B2B. | Ready |
| 20 | Aldehyde Wipe | Lower | Specialist companion to the air formaldehyde line. | Build copy + images |
| 21 | Cosmetic Contamination | Lower | Novel and PR-friendly but unproven demand; pilot small. | Build copy + images |
| 22 | Smoke & Fire Damage | Lower | Event-driven (post-fire, wildfire); strong but episodic. | Build copy + images |
| 23 | Endotoxin in Dust | Lower | Technical concept; needs education to sell. | Build copy + images |
| 24 | Odor Analysis | Lower | Problem-solver buy; harder to merchandise proactively. | Build copy + images |
| 25 | Surface Residue | Lower | Broad but vague value prop; hardest to position. | Build copy + images |
| 26 | PCB Screening | Lower | Mostly older-building/B2B; smallest consumer audience. | Build copy + images |

# Full Product Index

All 26 kits at a glance. Detailed entries follow, grouped by line.

| # | Kit | Price | Sample | Lab method |
| --- | --- | --- | --- | --- |
| 1 | Heavy Metals Kit | $249 | Drinking / well water (single 250 mL bottle) | ICP-MS, EPA Method 200.8 |
| 2 | Metals & Minerals Kit | $329 | Drinking / well water (single bottle) | ICP-MS (EPA 200.8) + Ion Chromatography (EPA 300.0) |
| 3 | Essentials Kit | $199 | Drinking / well water (sterile bacteria bottle + chemistry bottle) | IDEXX Colilert bacteria culture + Nitrate (EPA 300.0) + pH (electrode) + Hardness (titration) |
| 4 | Comprehensive Kit | $499 | Well / drinking water (VOC glass vials + metals/minerals bottle) | GC-MS (EPA 524.2) + ICP-MS (EPA 200.8) + Ion Chromatography (EPA 300.0) |
| 5 | PFAS Kit | $499 | Drinking / well water (PFAS-free tube) | LC-MS/MS, EPA Methods 533 / 537.1 (25-compound panel) |
| 6 | Professional Kit | $1,195 | Well / drinking water (full multi-container collection set) | ICP-MS 200.8 + GC-MS 524.2 + LC-MS/MS 533/537.1 + IC 300.0 + Colilert bacteria + nitrate / pH / hardness |
| 7 | Aldehyde / Formaldehyde Air Quality Monitor | $149 | Indoor air (passive badge) | Laboratory HPLC, EPA Method TO-11A |
| 8 | VOC Organic Vapor Air Quality Monitor | $199 | Indoor air (passive badge) | Laboratory GC-MS, EPA Methods TO-15 / TO-17 |
| 9 | Ammonia Air Quality Monitoring Badge | $125 | Indoor air (passive badge) | Laboratory Ion Chromatography (IC), NIOSH/OSHA reference methods |
| 10 | Air Quality (IAQ) Test Kit | Coming soon | Indoor air (four matrices) | GC-MS (TO-15/17) + HPLC (TO-11A) + particulate microscopy + CO/CO2 badge |
| 11 | Toxins in Plastics Test Kit | Coming soon | Submitted plastic material | Solvent extraction + GC-MS, LC-MS/MS, ICP-MS |
| 12 | Tick PCR Testing Kit | Coming soon | A removed tick specimen | Multiplex PCR (presence / absence per target) |
| 13 | Smoke & Fire Damage Chemical Markers | Coming soon | Surface wipe + air | GC-MS + HPLC + microscopy |
| 14 | Lead / Asbestos / Metals in Consumer Products | Coming soon | Scraping of the item itself | ICP-MS (acid digestion) + Polarized Light Microscopy (PLM) |
| 15 | Plasticizer & Microplastic Testing | Coming soon | Dust / water / surface | Microscopy + FTIR + LC-MS/MS |
| 16 | Endotoxin in Dust | Coming soon | Vacuumed indoor dust | LAL (Limulus Amebocyte Lysate) assay |
| 17 | PFAS in Bulk Materials | Coming soon | Bulk material (carpet, fabric, packaging, foam) | Solvent extraction + LC-MS/MS (parts-per-trillion) |
| 18 | Odor Analysis Panel | Coming soon | Air + source-material headspace | GC-MS speciation (sorbent tube + headspace jar) |
| 19 | Cosmetic Contamination Panel | Coming soon | Cosmetic / lotion / skincare swab or vial | Microbial culture + ICP-MS + LC-MS/MS |
| 20 | PCB Screening Test | Coming soon | Bulk building material (caulk / sealant) | GC-MS, EPA Method 8082 |
| 21 | Legionella Testing | Coming soon | Building water | Culture on selective media + PCR confirmation |
| 22 | Formaldehyde & Aldehyde Wipe Tests | Coming soon | Surface wipe | HPLC, EPA TO-11A adapted for wipes (DNPH derivatization) |
| 23 | Mold Spore Identification & Quantification Test | Coming soon | Air + tape-lift + swab (three matrices) | Direct spore-count microscopy |
| 24 | Allergen & Dust Test Kit | Coming soon | Vacuumed dust + swab | ELISA immunoassay + pollen microscopy |
| 25 | Surface Residue Screening Kit | Coming soon | Surface wipe | GC-MS + LC-MS/MS + ICP-MS + pH/conductivity |
| 26 | Radon & Environmental Gas Testing Kit | Coming soon | Indoor air (canister + badge) | Activated-charcoal canister (gamma spectroscopy) + CO/CO2 gas badge + VOC sorbent |

# Water Line

Heavy metals · minerals · VOCs · bacteria · PFAS

## 1. Heavy Metals Kit

A focused, affordable first look at the heavy metals in your tap or well water. One bottle, one rule — don't rinse it.

| Price | $249 |
| --- | --- |
| SKU / tier | Water tier 1 (BAS) |
| Sample type | Drinking / well water (single 250 mL bottle) |
| Lab method | ICP-MS, EPA Method 200.8 |

What it tests for

- 13 heavy metals, including Lead (Pb), Arsenic (As), Copper (Cu), Chromium (Cr), Iron (Fe), Manganese (Mn), Cadmium (Cd), Nickel (Ni), Selenium (Se), Barium (Ba), Antimony (Sb) and Mercury (Hg)

What's in the box

- Certified HDPE sample bottle (pre-cleaned, acid-preserved)

- Frozen cooling gel pack

- Prepaid, insulated return mailer

- Powder-free nitrile gloves

- Pre-printed sample label with a unique Sample ID

- QR collection guide + chain-of-custody (COC) card

- Digital results report with a plain-language Result Interpretation Guide

How to collect the sample

Take the sample from a cold, unfiltered tap. Flush the line 2-3 minutes first. Do NOT rinse the bottle - it is acid-preserved. Fill to within 1-2 inches of the top, cap, chill on the gel pack, and ship the same day you collect. Holding time begins the moment the bottle is capped.

How the lab analyzes it

The lab uses Inductively Coupled Plasma Mass Spectrometry (ICP-MS) under EPA Method 200.8. The sample is nebulized into an argon plasma at ~6,000-10,000 K, which strips elements to ions; a mass spectrometer then counts each metal ion by mass. Sensitivity reaches parts-per-trillion - far below what taste, smell, or color strips can detect.

Why we test for this — health & environmental impact

Heavy metals are invisible, tasteless, and odorless. Lead has no safe level of exposure: in children it lowers IQ, harms attention and behavior, and the damage is permanent. Arsenic is a known human carcinogen linked to bladder, lung, and skin cancers and to cardiovascular disease.

Copper and chromium leach from plumbing and fittings; chronic copper exposure causes gastrointestinal distress and, at high levels, liver and kidney damage. Iron and manganese are aesthetic and health flags - manganese in drinking water is increasingly linked to neurological effects in infants.

Did you know

- Lead rarely comes from the source water - it usually dissolves from the home's own pipes, solder, and brass fixtures, which is why utility testing can't tell you what comes out of YOUR tap.

- The EPA's action level for lead is 15 ppb, but the health-based goal is zero.

- Arsenic in groundwater is largely natural geology, not pollution - which is why two neighbors on different wells can have very different results.

Website / marketing copy

Accredited lab results, not color strips. Your sample is analyzed by an accredited laboratory using EPA Method 200.8 (ICP-MS) - no guesswork, no color matching.

Your tap water might look clear, but heavy metals like lead and arsenic are invisible, tasteless, and odorless. The only way to know is to test.

Plain-English report, not a spreadsheet - written for parents, not chemists.

## 2. Metals & Minerals Kit

Every metal in the Heavy Metals panel, plus the minerals that shape taste and safety - chloride and fluoride - from a single sample.

| Price | $329 |
| --- | --- |
| SKU / tier | Water tier 2 (BEN) |
| Sample type | Drinking / well water (single bottle) |
| Lab method | ICP-MS (EPA 200.8) + Ion Chromatography (EPA 300.0) |

What it tests for

- 13 heavy metals (Lead, Arsenic, Copper, Chromium, Iron, Manganese, Cadmium, Nickel and more)

- Chloride (Cl-)

- Fluoride (F-)

What's in the box

- Certified HDPE sample bottle (pre-cleaned, acid-preserved)

- Frozen cooling gel pack

- Insulated prepaid return mailer

- Powder-free nitrile gloves

- Pre-printed sample label with a unique Sample ID

- QR collection guide + chain-of-custody card

- Digital results report with interpretation guide

How to collect the sample

Collect from a cold, unfiltered tap. Flush the line 2-3 minutes first, then fill the bottle without rinsing it (it is acid-preserved). Cap, chill on the gel pack, and ship the same day you collect.

How the lab analyzes it

Metals run by ICP-MS (EPA 200.8). Chloride and fluoride run by Ion Chromatography (EPA 300.0), which separates the anions on a column and measures each against calibrated standards - the same method the lab uses for drinking-water minerals.

Why we test for this — health & environmental impact

Chloride is a taste-and-corrosion flag: elevated levels signal road-salt runoff, a failing water softener, or seawater/septic intrusion, and accelerate corrosion of pipes and fixtures (which can, in turn, mobilize metals).

Fluoride is protective for teeth at about 0.7 mg/L, but naturally high groundwater fluoride - or an over-adjusted supply - can cause dental and, at higher chronic levels, skeletal fluorosis. Pairing minerals with the full metals panel gives a fuller picture from one bottle.

Did you know

- Private wells are not regulated by the EPA - testing is entirely the homeowner's responsibility, and most are never tested.

- A salty or 'off' taste is often chloride - and can be an early sign your softener is failing or salt is reaching the water table.

- Fluoride is one of the few drinking-water parameters with both a health benefit and a health risk depending on concentration.

Website / marketing copy

Metals plus the minerals that shape your water - chloride and fluoride - in one accredited-lab test.

A salty taste or a softener you're not sure about? Chloride and fluoride tell you what a metals-only test can't.

One bottle, one shipment, a fuller picture - analyzed under EPA Methods 200.8 and 300.0.

## 3. Essentials Kit

The everyday peace-of-mind test - the five most important drinking-water indicators. If you run one water test this year, make it this one.

| Price | $199 |
| --- | --- |
| SKU / tier | Water tier 3 (ESS) - requested on the COC as "EST" |
| Sample type | Drinking / well water (sterile bacteria bottle + chemistry bottle) |
| Lab method | IDEXX Colilert bacteria culture + Nitrate (EPA 300.0) + pH (electrode) + Hardness (titration) |

What it tests for

- Total Coliform Bacteria

- E. coli

- Nitrate (NO3)

- pH

- Hardness

What's in the box

- Sterile bacteria bottle (with sodium-thiosulfate dechlorinator)

- Chemistry bottle for nitrate / pH / hardness

- Frozen cooling gel pack

- Insulated prepaid return mailer

- Powder-free nitrile gloves

- Pre-printed sample label with a unique Sample ID

- QR collection guide + chain-of-custody card

- Digital results report with interpretation guide

How to collect the sample

Collect the sterile bacteria bottle FIRST from a sanitized cold tap - don't touch or rinse the rim, and fill without overflowing the preservative. Then fill the chemistry bottle. Chill both on the gel pack and ship the SAME DAY you collect: bacteria have a strict holding time, which is why the kit ships with a frozen gel pack and a same-day label.

How the lab analyzes it

Bacteria are analyzed by the IDEXX Colilert defined-substrate method, which confirms Total Coliform and E. coli in ~24 hours. Nitrate runs by Ion Chromatography (EPA 300.0), pH by calibrated electrode, and hardness by titration. On the chain of custody this package is requested as "EST."

Why we test for this — health & environmental impact

Total Coliform and E. coli are the front-line indicators of fecal or biological contamination - a direct, immediate health risk that can cause gastrointestinal illness. E. coli in particular means the water is unsafe to drink until resolved.

Nitrate causes 'Blue Baby Syndrome' (methemoglobinemia) in infants and is an early warning of septic, fertilizer, or animal-waste contamination. pH flags corrosive water that can leach metals from plumbing, and hardness explains scale, appliance wear, and soap performance.

Did you know

- Bacteria samples have one of the shortest holding times in the lab - collecting and shipping the same day is what keeps the result valid.

- Where there is nitrate, bacteria may not be far behind - both point to surface water or waste reaching your source.

- 'Hard' water isn't a health hazard, but it quietly shortens the life of water heaters, dishwashers, and coffee makers.

Website / marketing copy

The five most important drinking-water indicators - Total Coliform Bacteria, E. coli, Nitrate, pH, and Hardness - with professional laboratory testing.

Ideal for annual water-quality checks, private wells, municipal water, and new-home purchases.

If you run one water test this year, make it this one. Most popular for a reason.

## 4. Comprehensive Kit

Our broadest chemistry panel - volatile organics, metals, and minerals for the full story of your water.

| Price | $499 |
| --- | --- |
| SKU / tier | Water tier 4 (COM) |
| Sample type | Well / drinking water (VOC glass vials + metals/minerals bottle) |
| Lab method | GC-MS (EPA 524.2) + ICP-MS (EPA 200.8) + Ion Chromatography (EPA 300.0) |

What it tests for

- VOCs: Benzene, Vinyl Chloride, MTBE, Trichloroethylene (TCE) and more

- 13 heavy metals: Lead, Arsenic, Copper, Chromium and more

- Chloride (Cl-)

- Fluoride (F-)

What's in the box

- Air-tight glass VOC vials with Teflon-lined caps

- Certified HDPE bottle for metals & minerals

- Cold-chain gel pack + insulated mailer

- Zero-headspace 'positive meniscus' sampling guide

- Powder-free nitrile gloves

- QR collection guide + chain-of-custody card

- Prepaid tracked priority return label

- Digital report with interpretation

How to collect the sample

Two container types, all from the same faucet and session. Fill the VOC glass vials FIRST to a 'positive meniscus' with zero headspace - any air bubble invalidates that test. The metals/minerals HDPE bottle is never rinsed. Chill immediately and ship the same day you collect, with the ice pack in the thermal mailer.

How the lab analyzes it

Three methods run in parallel. VOCs: Gas Chromatography-Mass Spectrometry (EPA 524.2) - volatile compounds are separated on a column then identified by their unique mass fingerprint. Metals: ICP-MS (EPA 200.8). Chloride & fluoride: Ion Chromatography (EPA 300.0).

Why we test for this — health & environmental impact

VOCs (volatile organic compounds) enter water from fuel leaks, dry cleaning, industrial solvents, and degreasers. Benzene is a known leukemia-causing carcinogen; vinyl chloride and TCE are also carcinogens; MTBE is a fuel additive that makes water taste of turpentine at tiny concentrations.

Because VOCs evaporate, they're easy to miss - they literally escape the sample if it isn't collected with zero headspace. Combining VOCs with the full metals panel plus chloride and fluoride gives the most complete non-PFAS picture of what's in the water.

Did you know

- VOCs in tap water can off-gas into bathroom air during a hot shower - for some compounds, inhalation in the shower contributes as much exposure as drinking the water.

- A single air bubble in a VOC vial can let volatile compounds escape before the sample ever reaches the lab - that's why the 'positive meniscus' fill technique matters.

Website / marketing copy

Clear water is not the same as safe water.

Different chemistry requires different containers. Volatile organics, heavy metals, and minerals each demand their own collection method - and this kit walks you through it.

Included instructions teach the positive-meniscus VOC fill technique that prevents volatile compounds from escaping into air bubbles before the sample reaches the laboratory.

## 5. PFAS Kit

Parts-per-trillion analysis for the 'forever chemicals' that never break down.

| Price | $499 |
| --- | --- |
| SKU / tier | Water tier 5 (PFA) |
| Sample type | Drinking / well water (PFAS-free tube) |
| Lab method | LC-MS/MS, EPA Methods 533 / 537.1 (25-compound panel) |

What it tests for

- PFOA

- PFOS

- PFHxS

- PFBS

- GenX (HFPO-DA)

- PFNA

- PFHpA

- 25-compound PFAS panel + Total PFAS / Total Organic Fluorine

What's in the box

- PFAS-free certified collection tube(s)

- High-capacity cold-chain gel pack + insulated priority mailer

- Ultra-clean sampling protocol / contamination-avoidance checklist

- Powder-free nitrile gloves

- QR collection guide + chain-of-custody card

- Prepaid priority tracked return label

- Digital report referenced to current EPA limits and Health Advisories

How to collect the sample

This is the most contamination-sensitive kit. Remove any waterproof or treated clothing. Wash hands with plain soap only - no lotion, sanitizer, sunscreen, or cosmetics. Open the PFAS-free tube only at the faucet, holding the cap by its outside edges. Fill to the line, cap immediately, do NOT rinse. Keep cold and ship the same day, priority.

How the lab analyzes it

Liquid Chromatography-Tandem Mass Spectrometry (LC-MS/MS) under EPA Methods 533 and 537.1. The sample is separated by liquid chromatography, then two stages of mass spectrometry isolate and confirm each PFAS compound - achieving sub-parts-per-trillion detection (roughly one drop in 20 Olympic swimming pools).

Why we test for this — health & environmental impact

PFAS are called 'forever chemicals' because their carbon-fluorine bonds - the strongest in organic chemistry - essentially never break down in the environment or the body. They bioaccumulate over years.

Health research links PFAS to kidney and testicular cancer, thyroid disease, high cholesterol, immune suppression (including reduced vaccine response), and developmental effects. In 2024 the EPA set the first enforceable national drinking-water limits for several PFAS at just 4 parts per trillion.

Did you know

- PFAS coatings are everywhere - fast-food wrappers, rain jackets, non-stick pans, dental floss - so a single contaminated bottle or glove can falsely elevate a result. This kit is engineered around that reality.

- Standard plastic bottles can leach PFAS and ruin results, which is why ordinary water-test kits can't measure them.

- An estimated 97%+ of Americans have detectable PFAS in their blood.

Website / marketing copy

Detects 'forever chemicals' at parts-per-trillion - like finding one drop in 20 Olympic pools.

PFAS coatings are everywhere. A single contaminated bottle or glove can falsely elevate a result. This kit is built around that reality.

Standard plastic bottles leach PFAS and ruin results - so we ship certified PFAS-free tubes and an ultra-clean protocol.

## 6. Professional Kit

The all-in-one - every analyte we offer, from bacteria to PFAS, in a single thorough test.

| Price | $1,195 |
| --- | --- |
| SKU / tier | Water tier 6 (PRO) - all-in-one |
| Sample type | Well / drinking water (full multi-container collection set) |
| Lab method | ICP-MS 200.8 + GC-MS 524.2 + LC-MS/MS 533/537.1 + IC 300.0 + Colilert bacteria + nitrate / pH / hardness |

What it tests for

- Total Coliform Bacteria & E. coli

- Nitrate (NO3)

- pH & Hardness

- 13 heavy metals

- Chloride & Fluoride

- VOCs (Benzene, Vinyl Chloride, MTBE, TCE and more)

- 25-compound PFAS panel (PFOA, PFOS, PFHxS, PFBS, GenX and more)

What's in the box

- Sterile bacteria bottle + chemistry bottle

- Certified HDPE metals & minerals bottle

- Air-tight glass VOC vials (Teflon-lined caps)

- PFAS-free certified tube

- High-capacity gel pack + insulated priority mailer

- Powder-free nitrile gloves

- Positive-meniscus + ultra-clean PFAS sampling guide

- QR collection guide + chain-of-custody card

- Prepaid priority tracked return label

- Digital report with full interpretation

How to collect the sample

Follow the sequence in the guide. Collect the most contamination-sensitive containers first - VOC vials (zero headspace) and the PFAS-free tube (ultra-clean protocol) - then the sterile bacteria bottle, then the chemistry and metals/minerals bottle. Chill everything on the gel pack and ship the same day you collect, priority.

How the lab analyzes it

Every method runs in parallel: bacteria by Colilert; nitrate, pH and hardness by IC/electrode/titration; metals by ICP-MS (200.8); chloride & fluoride by IC (300.0); VOCs by GC-MS (524.2); and PFAS by LC-MS/MS (533/537.1). The result is one report and one chain of custody covering every analyte we offer.

Why we test for this — health & environmental impact

This is the complete picture in a single test - biological, mineral, metal, volatile-organic, and forever-chemical - useful for new-home purchases, private wells you've never characterized, or anyone who wants to test everything once and keep the baseline.

Because it's collected under a single documented chain of custody, the Professional Kit also produces the most defensible record for real-estate, compliance, or dispute contexts.

Did you know

- Testing everything at once establishes a baseline you can compare against after a flood, a nearby construction project, or a change in taste or smell.

- Each contaminant class needs its own container and technique - which is why the all-in-one kit is really several validated collections in one box.

Website / marketing copy

Every analyte we offer - bacteria, E. coli, nitrate, pH, hardness, 13 metals, chloride, fluoride, VOCs, and a 25-compound PFAS panel - in one thorough test.

Test everything once. The most complete snapshot of your water, under a single chain of custody.

Built for new-home buyers, uncharacterized wells, and anyone who wants the whole story.

# Air & Indoor Air Quality Line

Formaldehyde · VOCs · ammonia · particulates · gases

## 7. Aldehyde / Formaldehyde Air Quality Monitor

Indoor formaldehyde, measured the way industrial hygienists measure it.

| Price | $149 |
| --- | --- |
| SKU / tier | Air - single analyte |
| Sample type | Indoor air (passive badge) |
| Lab method | Laboratory HPLC, EPA Method TO-11A |

What it tests for

- Formaldehyde

- Acetaldehyde

- Other carbonyls / aldehydes (DNPH-trapped)

What's in the box

- SKC 571 Aldehyde Monitor passive badge

- Protective sealed packaging

- Deployment instructions

- Chain-of-custody card

- Prepaid return mailer

- Lab HPLC analysis + digital report

How to collect the sample

Place the badge at breathing height, away from vents. Record the exact start time. Expose for 24 hours to 7 days (a time-weighted average). Seal it, record the end time, and ship the same day.

How the lab analyzes it

The badge uses DNPH (2,4-dinitrophenylhydrazine) chemistry to chemically trap aldehydes as stable derivatives. The lab then runs High-Performance Liquid Chromatography (HPLC) under EPA Method TO-11A to separate and quantify each carbonyl down to sub-parts-per-billion.

Why we test for this — health & environmental impact

Formaldehyde is a known human carcinogen (nasopharyngeal cancer and leukemia) and a potent respiratory and eye irritant. It off-gases from pressed-wood furniture, cabinetry, laminate flooring, new carpet, and some insulation - often for months or years after installation.

Sensitive people develop headaches, burning eyes, sore throat, and worsened asthma at levels well below a strong smell. Newer or recently renovated homes, and manufactured/mobile homes, tend to read highest.

Did you know

- Formaldehyde levels rise with heat and humidity - the same house can read far higher in summer than winter.

- The 'new furniture' or 'new trailer' smell is largely formaldehyde off-gassing.

Website / marketing copy

This is not a smart-home gadget producing an 'air quality score.' Your badge is analyzed in an accredited partner laboratory under EPA Method TO-11A.

Formaldehyde is invisible and the damage is cumulative - the only way to know your exposure is to measure it.

## 8. VOC Organic Vapor Air Quality Monitor

A laboratory-grade chemical profile of the air you breathe.

| Price | $199 |
| --- | --- |
| SKU / tier | Air - single analyte |
| Sample type | Indoor air (passive badge) |
| Lab method | Laboratory GC-MS, EPA Methods TO-15 / TO-17 |

What it tests for

- Benzene

- Toluene

- Xylene

- Formaldehyde

- Limonene

- and dozens of other speciated VOCs

What's in the box

- TraceAir II Organic Vapor Monitor passive badge

- Protective sealed packaging

- Deployment instructions

- Chain-of-custody card

- Prepaid return mailer

- GC-MS analysis + digital VOC profile report

How to collect the sample

Deploy the badge for 24 hours to 7 days at breathing height, away from vents, recording start and end times. The carbon sorbent inside passively captures organic vapors over the exposure window.

How the lab analyzes it

Gas Chromatography-Mass Spectrometry (GC-MS) under EPA Methods TO-15 and TO-17. Captured vapors are thermally desorbed, separated on a chromatography column, and identified one compound at a time by their mass fingerprint - 'speciation' that names each chemical rather than lumping them into a single number.

Why we test for this — health & environmental impact

Consumer 'TVOC' gadgets give one combined number, but the health risk depends entirely on WHICH compounds are present. Limonene from a citrus cleaner and benzene from a solvent both raise a TVOC reading - but only benzene is a regulated carcinogen.

VOCs come from paint, adhesives, cleaning products, air fresheners, gasoline, new flooring, and craft supplies. Chronic exposure is linked to headaches, respiratory irritation, liver/kidney effects, and - for benzene specifically - leukemia.

Did you know

- Indoor air is often 2-5x (sometimes far more) higher in VOCs than outdoor air, according to EPA studies.

- Only laboratory speciation can tell a harmless scent compound from a carcinogen sharing the same TVOC reading.

Website / marketing copy

Limonene from cleaning products and benzene from solvents will both raise a TVOC reading - but only one is a regulated carcinogen.

Only laboratory speciation tells you which one you have.

## 9. Ammonia Air Quality Monitoring Badge

Quantified indoor ammonia, the way industrial hygienists measure it.

| Price | $125 |
| --- | --- |
| SKU / tier | Air - single analyte |
| Sample type | Indoor air (passive badge) |
| Lab method | Laboratory Ion Chromatography (IC), NIOSH/OSHA reference methods |

What it tests for

- Ammonia (NH3)

What's in the box

- SKC 584 Ammonia Monitor passive badge

- Protective sealed packaging

- Deployment instructions

- Chain-of-custody card

- Prepaid return mailer

- IC analysis + digital report

How to collect the sample

Deploy the badge over a multi-hour to multi-day window at breathing height, recording start and end times. Seal and return the same day exposure ends.

How the lab analyzes it

The badge captures ammonia on a treated medium; the lab quantifies it by Ion Chromatography (IC), which separates and measures the ammonium ion against NIOSH and OSHA reference methods.

Why we test for this — health & environmental impact

Ammonia is a strong respiratory and eye irritant. It comes from cleaning products, refrigeration leaks, fertilizers, animal areas, and some building processes. Harmful exposure can occur well below the threshold at which most people can smell it.

Chronic low-level exposure aggravates asthma and respiratory conditions; acute high exposure can cause chemical burns to the airways.

Did you know

- People rapidly go 'nose-blind' to ammonia, so smell is a poor gauge of exposure - measurement is the only reliable indicator.

- Mixing ammonia and bleach produces toxic chloramine gas, a common household poisoning source.

Website / marketing copy

Harmful exposure can occur well below the threshold of smell.

Quantified, lab-grade ammonia measurement - not a guess based on odor.

## 10. Air Quality (IAQ) Test Kit

A comprehensive snapshot of your indoor air - by laboratory analysis, not a dashboard.

| Price | Coming soon |
| --- | --- |
| SKU / tier | IAQ-001 |
| Sample type | Indoor air (four matrices) |
| Lab method | GC-MS (TO-15/17) + HPLC (TO-11A) + particulate microscopy + CO/CO2 badge |

What it tests for

- TVOC (total VOCs)

- Formaldehyde

- PM2.5 + PM10 particulate matter

- Carbon Monoxide (CO)

- Carbon Dioxide (CO2)

What's in the box

- Air sampling cassette (PM2.5/PM10)

- VOC sorbent tube

- Aldehyde monitor badge

- CO/CO2 gas badge

- Instructions

- Chain-of-custody card

- Prepaid return mailer

- Lab analysis + digital report

How to collect the sample

Place the monitors in the room of concern at breathing height (3-5 ft), away from vents, windows, and purifiers. Record exact start and end times. Keep ventilation normal and let the kit run undisturbed for the full exposure window, then seal and ship the same day.

How the lab analyzes it

Four analyses combine into one report: VOCs by GC-MS (TO-15/TO-17), formaldehyde by HPLC (TO-11A), PM2.5/PM10 by particulate microscopy, and CO/CO2 by passive gas badge. Each parameter is reported as a named, quantified concentration.

Why we test for this — health & environmental impact

Most 'smart' air monitors return a single composite score that can't be acted on. This panel produces documented, defensible concentrations for each parameter - useful for landlords, renovations, health concerns, or real-estate disputes.

Fine particulate (PM2.5) penetrates deep into the lungs and bloodstream and is linked to heart and lung disease. Elevated CO2 signals poor ventilation; CO is acutely lethal; VOCs and formaldehyde carry the risks described in the dedicated air kits.

Did you know

- Americans spend roughly 90% of their time indoors, where pollutant levels are frequently higher than outside.

- Rising CO2 in a closed room is also why people feel drowsy and unfocused in stuffy meeting rooms - it's a direct ventilation signal.

Website / marketing copy

Where consumer 'smart' monitors return composite scores, this panel produces named, quantified concentrations for each parameter.

The result is documentation rather than a real-time dashboard - and the documentation is defensible.

Materials & Specialty Line

Plastics - ticks - mold - allergens - radon - legacy contaminants

# Materials & Specialty Line

Plastics · ticks · mold · allergens · radon · legacy contaminants

## 11. Toxins in Plastics Test Kit

Plastic itself is largely inert. The additives are the chemicals that migrate.

| Price | Coming soon |
| --- | --- |
| SKU / tier | TPL-001 |
| Sample type | Submitted plastic material |
| Lab method | Solvent extraction + GC-MS, LC-MS/MS, ICP-MS |

What it tests for

- Bisphenols (BPA, BPS, BPF)

- Phthalates (DEP, DBP, DEHP, DnOP)

- Brominated flame retardants (PBDEs)

- Residual VOCs / aldehydes

- Heavy metals (Lead, Cadmium, Chromium, Mercury)

- Plastic degradation byproducts

What's in the box

- Sample vials

- Solvent extraction tubes

- Powder-free nitrile gloves

- Chain-of-custody card

- Instructions

- Prepaid mailer

- Digital results report

How to collect the sample

Place a representative piece of the plastic item into the provided vial using the included gloves, seal, and return per the instructions.

How the lab analyzes it

The plastic is solvent-extracted to pull out additives, which are then run across three instruments: GC-MS for volatile/semi-volatile organics, LC-MS/MS for bisphenols and phthalates, and ICP-MS for heavy metals.

Why we test for this — health & environmental impact

Bisphenols and phthalates are endocrine disruptors - they mimic or block hormones and are linked to reproductive, developmental, and metabolic effects, with particular concern for fetuses, infants, and children.

Brominated flame retardants persist and bioaccumulate, and heavy metals such as lead and cadmium add neurological and organ toxicity. The additives - not the polymer - are what leach into food, drinks, and dust.

Did you know

- 'BPA-free' often just means BPA was swapped for BPS or BPF, chemical cousins with similar hormone-disrupting activity.

- Heat and acidity dramatically increase how fast plastic additives migrate - microwaving food in plastic is a worst case.

Website / marketing copy

Plastic itself is largely inert. The additives - plasticizers, stabilizers, and flame retardants - are the chemicals that migrate into your food, water, and air.

Test the material your family touches every day.

## 12. Tick PCR Testing Kit

The question is rarely 'was that a tick' - it's 'what was that tick carrying.'

| Price | Coming soon |
| --- | --- |
| SKU / tier | TCK-PCR-001 |
| Sample type | A removed tick specimen |
| Lab method | Multiplex PCR (presence / absence per target) |

What it tests for

- Borrelia burgdorferi (Lyme)

- Borrelia miyamotoi

- Anaplasma phagocytophilum

- Babesia microti

- Ehrlichia species

- Rickettsia species

What's in the box

- Specimen vial with stabilizing solution

- Alcohol wipe

- Secondary specimen bag

- Transport tube

- Instructions

- Prepaid mailer

- Digital PCR report

How to collect the sample

Place the removed tick into the stabilizing vial, seal it inside the secondary bag and transport tube, and mail it in. The tick does not need to be alive or intact.

How the lab analyzes it

Multiplex PCR amplifies pathogen DNA directly from the tick. Each of the six targets is reported as detected or not detected - testing the tick, not the person.

Why we test for this — health & environmental impact

Knowing what a tick carried can inform conversations with a doctor far sooner than waiting for human symptoms or antibodies, which can take weeks to appear. Lyme disease and co-infections are far easier to treat when caught early.

Different pathogens cause very different illnesses - Lyme, anaplasmosis, babesiosis, ehrlichiosis, and spotted-fever rickettsioses - and a single tick can carry more than one.

Did you know

- A blacklegged tick generally needs to stay attached 24-48 hours to transmit Lyme - timing the bite matters.

- This is an environmental screen of the tick, not a medical diagnostic for the person bitten.

Website / marketing copy

The question is rarely 'was that a tick' - it is 'what was that tick carrying.'

Mail in the tick and get a six-pathogen PCR panel before symptoms ever have a chance to start.

## 13. Smoke & Fire Damage Chemical Markers

Visible soot disappears with the right cleaning. The chemical markers of combustion do not.

| Price | Coming soon |
| --- | --- |
| SKU / tier | SFD-001 |
| Sample type | Surface wipe + air |
| Lab method | GC-MS + HPLC + microscopy |

What it tests for

- PAHs (polycyclic aromatic hydrocarbons)

- Soot / char particulates

- Combustion VOCs (benzene, naphthalene, toluene)

- Acid-gas residues (HCl, HF)

- Aldehydes

What's in the box

- Pre-wetted surface wipe pads

- Air sampling cassette

- Nitrile gloves

- Instructions

- Chain-of-custody card

- Prepaid mailer

- Digital results report

How to collect the sample

Wipe a measured surface area with the provided pads and/or deploy the air cassette in the affected room, following the included instructions. Seal and return.

How the lab analyzes it

GC-MS quantifies PAHs and combustion VOCs, HPLC measures aldehydes, and microscopy confirms soot/char particulates - together documenting whether combustion byproducts remain after cleaning.

Why we test for this — health & environmental impact

Many PAHs are carcinogenic, and fine combustion particulate lodges deep in the lungs. After a fire - even a neighboring or wildfire event - these residues settle into HVAC systems, walls, and soft furnishings and persist long after the smell fades.

Documentation matters for insurance claims and remediation verification: proving residue is gone (or still present) is the difference between a closed claim and an ongoing health hazard.

Did you know

- Smoke residue migrates through a building's HVAC system, contaminating rooms that never saw flame.

- 'Smoke smell gone' is not the same as 'clean' - odor and carcinogenic residue clear on different timelines.

Website / marketing copy

Visible soot disappears with the right cleaning. The chemical markers of combustion do not.

Document what's really left behind - for your health and your insurance claim.

## 14. Lead / Asbestos / Metals in Consumer Products

Test the thing itself, not the air around it.

| Price | Coming soon |
| --- | --- |
| SKU / tier | LAM-001 |
| Sample type | Scraping of the item itself |
| Lab method | ICP-MS (acid digestion) + Polarized Light Microscopy (PLM) |

What it tests for

- Lead, Cadmium, Chromium, Nickel, Mercury

- Asbestos fibers (chrysotile, amosite, crocidolite + other regulated types)

What's in the box

- Sample collection jars

- Scraping tool

- Nitrile gloves

- Secondary packaging

- Chain-of-custody card

- Instructions

- Prepaid mailer

- Digital results report

How to collect the sample

Use the scraping tool and gloves to collect a small sample of the item (paint, ceramic glaze, vinyl, insulation, etc.) into the jar. Double-bag and return.

How the lab analyzes it

Metals are acid-digested and run by ICP-MS. Suspected asbestos is identified by Polarized Light Microscopy (PLM), the standard method for distinguishing regulated asbestos fiber types.

Why we test for this — health & environmental impact

Lead in old paint, imported ceramics, toys, and jewelry is a leading source of childhood lead poisoning - and there is no safe level. Cadmium and mercury add their own organ and neurological toxicity.

Asbestos fibers, when disturbed, cause mesothelioma, lung cancer, and asbestosis decades later. Older flooring, insulation, joint compound, and 'popcorn' ceilings are common hidden sources.

Did you know

- Asbestos is only dangerous when disturbed and made airborne - which is why you test the material before renovating, not after.

- Imported and vintage ceramics can leach lead from their glaze into acidic foods and drinks.

Website / marketing copy

Test the thing itself, not the air around it.

Before you sand, drill, or demo - know what's in the material.

## 15. Plasticizer & Microplastic Testing

See the plastic you can't see - and the chemicals that come with it.

| Price | Coming soon |
| --- | --- |
| SKU / tier | PMT-001 |
| Sample type | Dust / water / surface |
| Lab method | Microscopy + FTIR + LC-MS/MS |

What it tests for

- Microplastics (microscopy-visible)

- Nanoplastics

- Phthalate plasticizers

- Bisphenols (BPA, BPS, BPF)

- Polymer breakdown compounds

- Polymer type ID (PET, PE, PP, PS)

What's in the box

- Sample jar

- Dust scoop

- Filter membrane

- Nitrile gloves

- Instructions

- Chain-of-custody card

- Prepaid mailer

- Digital results report

How to collect the sample

Collect the dust, water, or surface sample into the provided jar/filter using the scoop and gloves, then seal and return per instructions.

How the lab analyzes it

The sample is filtered, then examined by optical/fluorescence microscopy to count and size particles; FTIR spectroscopy identifies the polymer type of each particle; and LC-MS/MS quantifies plasticizers and bisphenols.

Why we test for this — health & environmental impact

Microplastics have been found in human blood, lungs, placenta, and brain tissue. Research is still emerging, but concern centers on inflammation and on the endocrine-disrupting plasticizers the particles carry.

Household dust is a major exposure route, especially for crawling infants and toddlers who ingest dust through hand-to-mouth contact.

Did you know

- Identifying the polymer type (FTIR) can point to the source - PET from textiles, PE from packaging, PS from foam.

- Synthetic textiles shed plastic microfibers every wash, a leading indoor microplastic source.

Website / marketing copy

See the plastic you can't see - counted, sized, and chemically identified.

Household dust is a primary microplastic exposure route. Find out what's in yours.

## 16. Endotoxin in Dust

Quantify the bacterial-toxin load hiding in household dust.

| Price | Coming soon |
| --- | --- |
| SKU / tier | END-001 |
| Sample type | Vacuumed indoor dust |
| Lab method | LAL (Limulus Amebocyte Lysate) assay |

What it tests for

- Bacterial endotoxin (lipopolysaccharide / LPS), reported in Endotoxin Units (EU) per gram or per m2

What's in the box

- Dust filter cassette

- Vacuum nozzle attachment

- Nitrile gloves

- Sterile sample vial

- Instructions

- Chain-of-custody card

- Prepaid mailer

- Digital results report

How to collect the sample

Attach the nozzle to a household vacuum and collect dust onto the filter cassette from a defined area, following the instructions. Seal in the sterile vial and return.

How the lab analyzes it

The LAL assay uses a clotting reaction derived from horseshoe-crab blood cells that is exquisitely sensitive to endotoxin, quantifying the bacterial-toxin load in the dust.

Why we test for this — health & environmental impact

Endotoxin is a fragment of the outer membrane of gram-negative bacteria. Inhaled, it drives airway inflammation and is associated with asthma severity, wheezing, and respiratory symptoms - independent of whether the bacteria are alive.

Levels tend to be higher in homes with pets, dampness, or poor ventilation, and matter most for occupants with asthma or COPD.

Did you know

- The LAL test famously relies on horseshoe-crab blood - one of the most sensitive biological detectors known.

- Endotoxin doesn't require living bacteria to cause harm; the toxin remains active in dead-cell debris.

Website / marketing copy

Quantify the bacterial-toxin load hiding in household dust.

Especially relevant for homes with asthma, pets, or past water damage.

## 17. PFAS in Bulk Materials

Test the material - not just the water it touched.

| Price | Coming soon |
| --- | --- |
| SKU / tier | PFAS-001 |
| Sample type | Bulk material (carpet, fabric, packaging, foam) |
| Lab method | Solvent extraction + LC-MS/MS (parts-per-trillion) |

What it tests for

- PFOS

- PFOA

- PFHxS

- PFBS

- Total Organic Fluorine (TOF) screen (optional)

What's in the box

- Bulk material jar

- Solvent-safe secondary container

- Nitrile gloves

- Chain-of-custody card

- Instructions

- Prepaid mailer

- Digital results report

How to collect the sample

Cut or place a representative piece of the material into the provided jar using gloves, seal in the secondary container, and return.

How the lab analyzes it

The material is solvent-extracted and analyzed by LC-MS/MS to parts-per-trillion - the same forever-chemical detection used for water, applied to the source material.

Why we test for this — health & environmental impact

PFAS are deliberately added to carpets, upholstery, water-repellent fabrics, food packaging, and firefighting foam for stain and water resistance. These treated materials are a direct contact and household-dust exposure source.

Health concerns mirror the water PFAS kit: cancer, thyroid disruption, immune effects, and developmental harm - with the advantage here of pinpointing the actual item responsible.

Did you know

- Stain-resistant and 'waterproof' treatments are among the most common intentional PFAS uses in the home.

- A Total Organic Fluorine screen can flag PFAS presence even when specific compounds aren't individually identified.

Website / marketing copy

Test the material - not just the water it touched.

Pinpoint the carpet, jacket, or packaging that's the actual PFAS source.

## 18. Odor Analysis Panel

Identify the chemicals behind the smell.

| Price | Coming soon |
| --- | --- |
| SKU / tier | ODR-001 |
| Sample type | Air + source-material headspace |
| Lab method | GC-MS speciation (sorbent tube + headspace jar) |

What it tests for

- Broad VOC spectrum

- Aldehydes / ketones

- Organic acids

- Sulfur compounds (mercaptans, hydrogen sulfide)

- Amines

What's in the box

- Sealed odor sample jar

- VOC sorbent tube

- Nitrile gloves

- Instructions

- Chain-of-custody card

- Prepaid mailer

- Digital results report

How to collect the sample

Capture the suspect air on the sorbent tube and/or seal the smelly material in the headspace jar, following instructions, then return.

How the lab analyzes it

GC-MS speciation separates and names the individual odor compounds - sulfur compounds, amines, organic acids, aldehydes, and VOCs - turning a subjective smell into an objective chemical list.

Why we test for this — health & environmental impact

Persistent mystery odors can signal real hazards - hydrogen sulfide (sewer gas) is toxic at higher levels, amines and mercaptans can indicate decomposition or gas leaks, and VOC odors can point to solvent or mold-related sources.

Identifying the specific chemicals turns an emotional 'something smells wrong' into an actionable diagnosis for remediation or landlord/insurance disputes.

Did you know

- The human nose can detect some sulfur compounds at parts-per-billion - which is why a tiny source can dominate a room.

- The 'rotten egg' odorant added to natural gas (a mercaptan) is detectable far below dangerous concentrations by design.

Website / marketing copy

Identify the chemicals behind the smell.

Turn 'something smells off' into a named, actionable result.

## 19. Cosmetic Contamination Panel

Personal care products are not subject to pre-market FDA review in the United States.

| Price | Coming soon |
| --- | --- |
| SKU / tier | CCP-001 |
| Sample type | Cosmetic / lotion / skincare swab or vial |
| Lab method | Microbial culture + ICP-MS + LC-MS/MS |

What it tests for

- Microbial pathogens (bacterial / fungal)

- Parabens / preservatives

- Heavy metals (Lead, Arsenic, Cadmium, Mercury)

- Fragrance allergens (regulated list)

- Oxidation / rancidity markers

What's in the box

- Sterile sample vial

- Cosmetic swab

- Nitrile gloves

- Secondary packaging

- Instructions

- Chain-of-custody card

- Prepaid mailer

- Digital results report

How to collect the sample

Swab or scoop a sample of the product into the sterile vial using gloves, seal, and return per instructions.

How the lab analyzes it

Microbial culture detects bacterial and fungal contamination; ICP-MS measures heavy metals; LC-MS/MS quantifies preservatives and fragrance allergens; oxidation markers flag rancidity.

Why we test for this — health & environmental impact

Cosmetics in the U.S. are largely not reviewed by the FDA before sale. Contaminated mascara, lotion, or lip products can carry bacteria or fungi that cause eye and skin infections, while some imported products have been found adulterated with lead or mercury.

Heavy metals in skin-lightening creams and some lipsticks are absorbed over time; mercury in particular damages the kidneys and nervous system.

Did you know

- Skin-lightening creams are a notorious source of mercury contamination worldwide.

- An opened mascara is a warm, moist environment ideal for bacterial growth - a key reason for expiration windows.

Website / marketing copy

Personal care products are not subject to pre-market FDA review in the United States.

Know what's really in the products you put on your skin.

## 20. PCB Screening Test

Test legacy materials for the contaminants regulators retired decades ago.

| Price | Coming soon |
| --- | --- |
| SKU / tier | PCB-001 |
| Sample type | Bulk building material (caulk / sealant) |
| Lab method | GC-MS, EPA Method 8082 |

What it tests for

- Aroclor mixtures (1016, 1242, 1248, 1254, 1260)

- Individual PCB congeners

What's in the box

- Sample jar

- Nitrile gloves

- Tamper-evident seal

- Chain-of-custody card

- Instructions

- Prepaid mailer

- Digital results report

How to collect the sample

Cut a small piece of the suspect caulk, sealant, or other legacy material into the jar using gloves, apply the tamper-evident seal, and return.

How the lab analyzes it

GC-MS under EPA Method 8082 identifies and quantifies PCB Aroclor mixtures and individual congeners in the material.

Why we test for this — health & environmental impact

PCBs were banned in the U.S. in 1979 but remain in pre-1980 caulk, sealants, paints, and old electrical equipment. They are persistent, bioaccumulative, and probable human carcinogens, and also affect the immune, reproductive, and nervous systems.

During renovation of older buildings (including many schools), disturbed PCB-laden caulk can contaminate dust and soil - making pre-demolition testing important.

Did you know

- PCBs were prized for being chemically stable and fire-resistant - the very properties that make them persist for generations.

- Many older school buildings still contain PCB-laden window and masonry caulk.

Website / marketing copy

Test legacy materials for the contaminants regulators retired decades ago.

Before renovating a pre-1980 building, check the caulk.

## 21. Legionella Testing

Screen building water for the bacteria behind Legionnaires' disease.

| Price | Coming soon |
| --- | --- |
| SKU / tier | LGN-001 |
| Sample type | Building water |
| Lab method | Culture on selective media + PCR confirmation |

What it tests for

- Legionella pneumophila

- Non-pneumophila Legionella species (reported as CFU/mL or CFU/L)

What's in the box

- Sterile 250 mL sample bottle

- Cold pack + insulated mailer

- Sample labels

- Chain-of-custody card

- Instructions

- Prepaid tracked return label

- Digital results report

How to collect the sample

Fill the sterile 250 mL bottle from the target fixture (shower, tap, cooling system) following the instructions, keep it cold and shielded from light, and ship the same day.

How the lab analyzes it

The lab cultures the sample on Legionella-selective media and confirms with PCR, reporting colony-forming units - aligned to ASHRAE Standard 188 and CDC water-management guidance.

Why we test for this — health & environmental impact

Legionella causes Legionnaires' disease, a severe and sometimes fatal pneumonia, plus the milder Pontiac fever. It grows in warm stagnant water - water heaters, large plumbing systems, hot tubs, and cooling towers - and infects people by inhaling contaminated aerosols (e.g., showers).

Risk is highest for older adults, smokers, and people with weakened immune systems or lung disease. Buildings that sat idle (vacations, closures) are a known risk because stagnant water lets Legionella bloom.

Did you know

- The disease is named for a 1976 outbreak at an American Legion convention in Philadelphia.

- You catch Legionnaires' by breathing in contaminated mist or aerosols - not by drinking the water.

Website / marketing copy

Screen building water for the bacteria behind Legionnaires' disease.

Especially important after a building has sat idle or for high-risk occupants.

## 22. Formaldehyde & Aldehyde Wipe Tests

Measure aldehyde residue on the surfaces you actually touch.

| Price | Coming soon |
| --- | --- |
| SKU / tier | ALD-001 |
| Sample type | Surface wipe |
| Lab method | HPLC, EPA TO-11A adapted for wipes (DNPH derivatization) |

What it tests for

- Formaldehyde

- Acetaldehyde

- Glyoxal

- Glutaraldehyde

- Other regulated aldehydes

What's in the box

- Pre-wetted DNPH-treated wipe pads

- Nitrile gloves

- Sealed sample vial

- Instructions

- Chain-of-custody card

- Prepaid mailer

- Digital results report

How to collect the sample

Wipe a measured surface area with the DNPH-treated pad using gloves, seal it in the vial, and return per instructions.

How the lab analyzes it

The DNPH-treated wipe traps aldehydes on contact; the lab runs HPLC (EPA TO-11A adapted for wipes) to quantify each aldehyde on the surface.

Why we test for this — health & environmental impact

This complements the airborne formaldehyde badge by measuring residue settled on surfaces - relevant after fumigation, on new furniture and laminate, or in spaces using glutaraldehyde/glyoxal disinfectants.

Formaldehyde is a known carcinogen and respiratory irritant; glutaraldehyde is a strong sensitizer that can trigger occupational asthma and dermatitis.

Did you know

- Glutaraldehyde is widely used as a cold sterilant in clinics and salons - a common occupational exposure.

- Surface and air aldehyde levels can diverge, so a clean air reading doesn't guarantee clean surfaces.

Website / marketing copy

Measure aldehyde residue on the surfaces you actually touch.

The surface companion to our airborne formaldehyde monitor.

## 23. Mold Spore Identification & Quantification Test

Name the mold and count the spores - not just 'positive or negative.'

| Price | Coming soon |
| --- | --- |
| SKU / tier | MSQ-001 |
| Sample type | Air + tape-lift + swab (three matrices) |
| Lab method | Direct spore-count microscopy |

What it tests for

- Aspergillus / Penicillium

- Cladosporium

- Stachybotrys

- Chaetomium

- Basidiospores

- Ascospores

- Other indicator genera (reported in spores/m3 or per surface area)

What's in the box

- Air sampling cassette

- Tape-lift slide

- Mold swab

- Nitrile gloves

- Instructions

- Chain-of-custody card

- Prepaid mailer

- Digital results report

How to collect the sample

Use the air cassette for airborne spores and/or the tape-lift and swab for visible growth, following the instructions for each matrix, then seal and return.

How the lab analyzes it

An analyst examines the samples under a microscope to identify spore types and count them directly, reporting concentrations by genus - so you learn which mold and how much, not merely whether mold is present.

Why we test for this — health & environmental impact

Mold exposure triggers allergies, asthma, and respiratory irritation, and some genera (e.g., Stachybotrys, certain Aspergillus) produce mycotoxins or cause infections in vulnerable people.

Identifying the genus matters: Stachybotrys ('black mold') and Chaetomium indicate chronic water damage, while elevated indoor Aspergillus/Penicillium relative to outdoors points to a hidden indoor source.

Did you know

- Comparing indoor vs. outdoor spore counts is how professionals decide whether there's an indoor mold problem at all.

- Mold doesn't need standing water - sustained humidity above ~60% is enough for many species.

Website / marketing copy

Name the mold and count the spores - not just 'positive or negative.'

Lab microscopy that tells you which mold and how much.

## 24. Allergen & Dust Test Kit

Pinpoint the specific allergens driving symptoms at home.

| Price | Coming soon |
| --- | --- |
| SKU / tier | ALG-001 |
| Sample type | Vacuumed dust + swab |
| Lab method | ELISA immunoassay + pollen microscopy |

What it tests for

- Dust mite proteins (Der p 1, Der f 1)

- Pet dander (Fel d 1 cat, Can f 1 dog)

- Cockroach allergens (Bla g 1, Bla g 2)

- Pollen ID (reported as protein concentration per gram of dust)

What's in the box

- Dust filter cassette

- Sample swab

- Nitrile gloves

- Sterile collection vial

- Instructions

- Chain-of-custody card

- Prepaid mailer

- Digital results report

How to collect the sample

Vacuum dust onto the filter cassette from a defined area (bedding, carpet, upholstery) and/or swab a surface, using gloves and following instructions, then return.

How the lab analyzes it

ELISA immunoassays measure each specific allergen protein quantitatively, and pollen is identified by microscopy - giving concentrations per gram of dust rather than a yes/no.

Why we test for this — health & environmental impact

For people with allergies and asthma, knowing exactly which allergens are elevated - and where - guides targeted cleaning, bedding changes, and pet-management decisions far better than guesswork.

Dust mite, pet, and cockroach allergens are leading indoor asthma triggers, and concentrations vary dramatically room to room.

Did you know

- It's not the mite or roach itself but specific proteins (in droppings and body fragments) that trigger the allergy.

- Cat allergen (Fel d 1) is so sticky and airborne it's commonly detected in homes that have never had a cat.

Website / marketing copy

Pinpoint the specific allergens driving symptoms at home.

Quantified allergen levels - so you can target the real triggers.

## 25. Surface Residue Screening Kit

A broad chemical screen of what's left on a surface.

| Price | Coming soon |
| --- | --- |
| SKU / tier | SRS-001 |
| Sample type | Surface wipe |
| Lab method | GC-MS + LC-MS/MS + ICP-MS + pH/conductivity |

What it tests for

- Surfactants / detergents

- Acid & base residues

- Solvents (alcohols, glycols, halogenated)

- Aldehyde residues

- Heavy metals

What's in the box

- Pre-wetted surface wipe pads

- Nitrile gloves

- Sealed sample vial

- Instructions

- Chain-of-custody card

- Prepaid mailer

- Digital results report

How to collect the sample

Wipe a measured surface area with the provided pad using gloves, seal in the vial, and return per instructions.

How the lab analyzes it

A multi-instrument screen: GC-MS and LC-MS/MS for organics and solvents, ICP-MS for heavy metals, plus pH and conductivity for acid/base and ionic residues - a broad 'what's on this surface' profile.

Why we test for this — health & environmental impact

Useful after cleaning, renovation, or a move-in to verify that chemical residues - solvents, harsh cleaners, metals - aren't lingering on counters, floors, or play areas where children and pets contact them.

Residual solvents and strong acids/bases can cause skin and respiratory irritation; metal residues add toxicity concerns on food-contact and high-touch surfaces.

Did you know

- 'Clean-smelling' surfaces can still carry detergent and solvent residue that a wipe test will reveal.

- pH and conductivity quickly flag leftover acidic or alkaline cleaner that organic tests alone would miss.

Website / marketing copy

A broad chemical screen of what's left on a surface.

Verify that cleaning and renovation didn't leave a chemical residue behind.

## 26. Radon & Environmental Gas Testing Kit

Radon is the second-leading cause of lung cancer in the United States, behind smoking.

| Price | Coming soon |
| --- | --- |
| SKU / tier | RAD-001 |
| Sample type | Indoor air (canister + badge) |
| Lab method | Activated-charcoal canister (gamma spectroscopy) + CO/CO2 gas badge + VOC sorbent |

What it tests for

- Radon (Rn-222, in pCi/L)

- Carbon Monoxide (CO)

- Carbon Dioxide (CO2)

- VOC indicators

What's in the box

- Activated-charcoal radon canister

- CO/CO2 gas badge

- Instructions

- Chain-of-custody card

- Prepaid mailer

- Digital results report

How to collect the sample

Expose the charcoal canister in the lowest lived-in level of the home for the specified short-term window with windows closed, deploy the CO/CO2 badge, record times, then seal and ship immediately (radon analysis is time-sensitive).

How the lab analyzes it

The activated-charcoal canister adsorbs radon, then is analyzed by gamma spectroscopy (an EPA-recognized short-term radon method) to back-calculate the airborne concentration. The CO/CO2 badge and VOC sorbent are measured alongside it.

Why we test for this — health & environmental impact

Radon is a naturally occurring radioactive gas from uranium decay in soil and rock. It's invisible and odorless, seeps into homes through foundation cracks, and is the #1 cause of lung cancer among non-smokers per the EPA. The EPA action level is 4 pCi/L.

Carbon monoxide is acutely lethal at high levels and causes headaches and confusion at lower ones; elevated CO2 signals inadequate ventilation. Together this kit covers the most dangerous household gases in one deployment.

Did you know

- Radon is measured in picocuries per liter; about 1 in 15 U.S. homes is estimated to be at or above the EPA action level.

- Two identical houses next door to each other can have very different radon levels because it depends on the soil and foundation, not the neighborhood.

Website / marketing copy

Radon is the second-leading cause of lung cancer in the United States, behind smoking, according to the EPA.

Invisible, odorless, and testable - measure the most dangerous household gases in one kit.

Notes & Next Steps

Product titles use the full legal name 'Sacred Sampling Solutions'; Amazon listings and portal pages shorten to 'Sacred Sampling.' If Amazon's title policy flags the brand name, have a shortened-title variant ready.

Two documented follow-up SKUs not yet built: a single-contaminant 'Lead-only' water listing and a 'Well Water' bundle.

If Brand Registry is active, build an A+ Content version of the water copy.

Kits 8-24 (except the four water tiers and three air badges) still need retail pricing, hero photography, and 'what's inside' images before launch.

# Notes & Next Steps

- Product titles use the full legal name 'Sacred Sampling Solutions'; Amazon listings and portal pages shorten to 'Sacred Sampling.' If Amazon's title policy flags the brand name, keep a shortened-title variant ready.

- The six water kits and the three air badges (Formaldehyde, VOC, Ammonia) are live and buyable. The remaining kits are published on the website as 'Coming soon' until retail pricing, hero photography, and 'what's inside' images are finalized.

- Website checkout is wired through Stripe Payment Links on kits.html; the portal handles registration, training, chain of custody, prepaid UPS/return labels, and results.

- Kit naming is aligned to the website: 'Heavy Metals Kit' (tier 1) and 'Metals & Minerals Kit' (tier 2) are the customer-facing names for the former Baseline and Benchmark tiers.

- Comprehensive is Metals + VOCs + Chloride + Fluoride (EPA 200.8 / 524.2 / 300.0); this matches the portal and the LIAL chain of custody. Nitrate now lives in the Essentials and Professional kits.

- If Brand Registry is active, build an A+ Content version of the water copy.